# RNA Extraction from Tasso Blood Samples: In-Flight Protocol

Name: ____________________________        CWID: ____________________________

Overview

In this lab, you will extract RNA from a simulated in-flight spaceflight blood sample collected using the Tasso device. You'll follow three main steps:

1. Erythrocyte lysis using the NEB Monarch RBC Lysis Buffer protocol
2. RNA isolation using the Qiagen RNeasy Mini Kit
3. RNA quantification using the Qubit 4 Fluorometer

You’ll also learn about Tapestation and Fragment Analyzer quality control methods.

## Part 1: RBC Lysis Protocol (Monarch)

Q: Why is it important to remove red blood cells before RNA extraction from whole blood?

A: ___________________________________________________________________________

### Materials

- Tasso blood sample (500 μl)
- RBC Lysis Buffer (cold)
- PBS (cold)
- 2 ml microcentrifuge tubes

### Steps

Add 1.5 ml cold RBC Lysis Buffer to 500 μl whole blood in a 2 ml tube.

Close the tube and invert 3–5 times to mix.

Incubate on ice for 6–12 minutes. Mix occasionally. Sample should turn translucent.

Centrifuge at 1000 × g for 3 min at 4°C.

Remove supernatant, leaving ~15–20 μl behind. Avoid disturbing the pellet.

Flick the tube or vortex briefly to resuspend the pellet.

Add 1.5 ml cold RBC Lysis Buffer, vortex to resuspend, and incubate on ice for 3 min.

Repeat centrifugation and remove supernatant as before.

Add 1.5 ml cold PBS, vortex to mix.

Centrifuge again at 1000 × g for 3 min. Remove supernatant, leaving 15–20 μl.

SAVE THE PELLET: You will proceed directly to RNA extraction.

## Part 2: RNA Isolation (Qiagen RNeasy Mini Kit)

Goal: Extract total RNA from white blood cells using silica column-based purification.

Q: What is the function of each of the following components:

- Buffer RLT: ____________________________________________________________

- 70% Ethanol: __________________________________________________________

- Buffer RW1: ___________________________________________________________

- Buffer RPE: ____________________________________________________________

- RNase-free water: ______________________________________________________

### Materials

- Qiagen Buffer RLT (with β-ME)
- 70% Ethanol
- Buffer RW1, RPE
- RNase-free water
- RNeasy spin column and collection tubes

### Steps

- Add 350 μl Buffer RLT + β-ME to the pellet and vortex to lyse the cells.

Add 350 μl of 70% ethanol. Mix well by pipetting.

Transfer the mixture to a spin column in a collection tube.

Centrifuge at ≥8000 × g for 15 s. Discard flow-through.

Add 700 μl Buffer RW1, centrifuge (15 s). Discard flow-through.

Add 500 μl Buffer RPE, centrifuge (15 s). Discard flow-through.

Add 500 μl Buffer RPE, centrifuge 2 min to dry the column.

Optional: Spin again in new tube to remove residual ethanol.

Place column in a clean 1.5 ml tube. Add 30–50 μl RNase-free water to the membrane.

Centrifuge 1 min to elute the RNA. Store on ice.

## Part 3: RNA Quantification (Qubit RNA HS Assay)

Goal: Use Qubit to determine RNA concentration via fluorescence (more accurate than Nanodrop at low concentrations).

Q: What is the purpose of including standards in Qubit quantification?

A: ___________________________________________________________________________

### Materials

- Qubit RNA HS Kit (reagent, buffer, standards)
- 0.5 ml Qubit assay tubes
- Qubit 4 Fluorometer

### Steps

- Label two tubes for standards (Standard 1 and 2) and one for each RNA sample.

Prepare Qubit working solution: Mix 199 μl buffer + 1 μl reagent per tube. Make enough for standards + samples.

Add: 190 μl working solution + 10 μl standard to each standard tube; 180–199 μl working solution + 1–20 μl sample to each sample tube.

Vortex all tubes for 3–5 seconds.

Incubate 2 min at room temperature.

Insert tubes into the Qubit and record RNA concentrations.

## Part 4: Advanced RNA Quality Control

## Tapestation (Agilent)

Purpose: Determine RNA integrity via electrophoretic separation. Produces an RNA Integrity Number (RIN).
- RIN 9–10 = Excellent RNA (intact 28S and 18S rRNA peaks)
- Degraded RNA appears as smears or with loss of rRNA peaks
- Can quantify RNA and visualize fragment distribution

Why use it? It’s fast, uses low input, and gives both quantity and quality.

### Fragment Analyzer (Agilent / Advanced Analytical)

Purpose: Similar to Tapestation but more high-throughput and automated. Also generates RNA Quality Number (RQN) or DV200 score.
- DV200 = % RNA fragments > 200 nucleotides 
- Excellent for checking RNA for sequencing or library prep compatibility

Why use it? It can analyze many samples at once with high precision and greater resolution.

## Post-Lab Questions

Q: How might microgravity affect standard phlebotomy methods, and why are devices like Tasso used instead?

A: ___________________________________________________________________________

Q: Why do we use β-mercaptoethanol (or DTT) in the lysis buffer, and what might happen if you forget it?

A: ___________________________________________________________________________

Q: If you accidentally disturbed the pellet during lysis, what downstream effect would you expect?

A: ___________________________________________________________________________

Q: What would happen if you used too much or too little ethanol during the RNA binding step?

A: ___________________________________________________________________________

Q: What might cause a poor RNA yield even if all visible steps were followed correctly?

A: ___________________________________________________________________________

Q: How does Qubit differentiate between RNA and other nucleic acids like DNA?

A: ___________________________________________________________________________

Q: You obtain a Qubit concentration of 12 ng/μl. If you eluted in 40 μl, what is your total RNA yield?

A: ___________________________________________________________________________